Whole Exome Sequencing

Alyssa Schwartz, 9/18/17

Materials

Tissue or cell samples of interest		Illumina TRUseq exome kit (with 3-12 barcodes)

Qiagen DNA extraction Kit			Illumina NextSeq 500/550 flow cell

Key Contacts:

Courtney Babbitt: cbabbitt@bio.umass.edu

Ravi: genomics@umass.edu

DAY 1

- Extract Genomic DNA (1 hour)

Goal: To obtain DNA for sequencing

Basic Steps: Lyse cells and nuclei via kit instructions

- Fragment DNA (1 hour)

Goal: Take long strands of genomic DNA and fragment them into pieces ~150bp for sequencing

Basic Steps: Use Covaris (Mager lab) to mechanically shear DNA by sonication. Repeat cycles of 30 sec on, 30 sec off to prevent over-heating (10 minutes of shearing, 20 minutes total).

[Safe stopping point, Store at -80C]

- Repair ends and select library size (~2 hours)

Goal: Convert double stranded overhangs into blunt ends and generate a uniform library size

Basic Steps: Use end repair mix to remove 3’ overhangs and polymerase to add nucleotides to the 5’ end of fragmented DNA to generate blunt ends. Bind sample to, then was and elute from, sample purification beads (also known as solid phase reversible immobilization beads). These are paramagnetic beads coated with carboxyl groups, which reversibly bind DNA in the presence of PEG and salt causing negatively charged DNA to bind. The concentration of PEG determines which size fragments will bind because it induces a coil-to-globule conformation change based on the total molecular negative charge.

[Safe stopping point, Store at -80C]

- Adenylate 3’ ends (~1 hour)

Goal: Add an adenine to the 3’ ends of blunt fragments and a reliable nucleotide for ligation of adapters

Basic Steps: Ligate the A to blunt end fragments with polymerase and a PCR-style reaction. This will later be used to bind the adapters (which have a hanging T).

- Ligate adapters (~3 hours)

Goal: Specifically label coding sequences with unique barcodes to identify each library

Basic Steps: Use the unique adapters/barcodes and ligate one to each library to be run on the same flow cell. Here you will go through 2 rounds of clean up to ensure that all unreacted adapters are removed.

[Safe stopping point, Store at -80C]

- Enrich DNA fragments (~2 hours)

Goal: PCR to enrich fragments with adapters ligated to them

Basic Steps: PCR each sample, using primers that are complementary to the adapters. This specifically amplifies the DNA fragments that have barcodes ligated to them, to ensure that the majority of reads can later be mapped back to a specific sample.

[Safe stopping point, Store at -80C]

- Validate Libraries on Bioanalyzer

Goal: To confirm quality and size of fragments in each library prior to pooling

Basic Steps: Coordinate with the UMass Genomics Resource Lab to check the size distribution of your samples on the bioanalyzer. (Does not have to be done on day 1 – samples can be frozen in the -80C immediately before this step. Freeze a 3uL aliquot separately so you don’t have to thaw the whole vial for your quality check).

DAY 2

- Hybridize probes (~3 hours)

Goal: Pool libraries so they can be run on the same flow cell and bind exons with capture probes to select exons for sequencing

Basic Steps: This step first mixes your 3 libraries into 1 pool. Bind specific oligomers which are unique to exome sequences. This works by first heating the DNA to separate the strands, then uses biotinylated complementary strands to capture exons.

- Capture Hybridized probes (~2 hours)

Goal: Capture probes on coding sequences to select for exons only

Basic Steps: Use streptavidin-functionalized magnetic beads to capture the specific probes ligated in step 8. Remove non-specific binding by 2 washes, 30 minutes each, at 50C.

- Perform second hybridization (~20 minutes prep, 14 hours run time]

Goal: Perform modified version of step 8 to increase purity

Basic Steps: See step 8.

DAY 3

- Perform Second capture (~2 hours)

Goal: Perform modified version of step 9 to increase purity

Basic Steps: See step 9.

- Clean up captured library (~30 minutes)

Goal: Further purify the library

Basic Steps: Use sample purification beads to ensure you still have a library of uniform size, as described in step 3. This produces an enriched library.

- Amplify enriched library (~1 hour)

Goal: PCR amplification of the pooled, enriched library

Basic Steps: 8 cycle PCR to amplify your library to ensure a concentration of DNA fragments high enough for detection in the flow cell.

- Clean up amplified enriched library (~30 minutes)

Goal: Purify the amplified library to eliminate any artifacts of PCR amplification

Basic Steps: Use sample purification beads, as described in step 3, to select fragments of the appropriate size. You now have a pooled, amplified, enriched library, ready for sequencing!

- Run on NextSeq 500 (2 hour set up with Ravi or other GRL member + 20 hour run)

Goal: Obtain reads

Basic Steps: Coordinate with UMass Genomics Resource Lab to book the NextSeq 500 (~20 hours) and dilute library according to protocol. You will need to set up a basespace account with Illumina before hand where run stats and data will be deposited.

- Analyze (allow weeks)

Goal: Align sequence reads to reference sequences to determine SNPs

Basic Steps: The Illumina platform software will separate out reads from the NextSeq chip by barcode and provide one FASTQ file per sample per read direction (these are paired-end reads). Then call SNPs (these will be variations relative to the reference genome), and threshold by confidence in that mutation. Further analysis can be done to determine if that mutation will result in a non-synonymous mutation, if the mutation is in predicted transcription factor binding regions, or to compare to known SNPs in a database.