Michael Hughes

Nitabach Lab

January 20, 2011

Protocol: MDS RiboAmp Plus Amplificiation of polyA+ RNA from fly brains

MDS: Kit0521, 655$

Setup:

  - Use appropriate RNAse free technique throughout.

  - Start with the highest quality RNA available; aim for 260:280 and 260:230 ratios > 2.0 (although 260:230 as low as 1.0 have worked adequately).

  - Pre-program thermocycler to minimize delays.

cDNA synthesis:

  - Aliquot 5ul (100-500ng) tRNA to PCR strip cap tubes.

  - Add 5ul RNAse-free dH2O to each tube.

  - Thaw Primer A to RT, vortex, add 1ul to each sample. Mix samples, spin down briefly.

  - Thermocycler: 65 degrees, 5’. Chill to 4 degrees, > 1’. Spin down.

  - Thaw 1st strand master mix. Add 7ul to each tube.  Add 2ul 1st strand enzyme to each tube. Mix   samples, spin down briefly.

  - Thermocycler: 42 degree, 45’. Chill to 4 degrees, > 1’.

  - Thaw 1st strand nuclease.  Add 2ul to each tube. Mix samples, spin down briefly.

  - Thermocycler: 37 degrees, 30’. 95 degrees, 5’. 4 degrees, > 1’.

  - Thaw Primer B to RT, add 1ul to each tube. Mix samples, spin down briefly.

  - Thermocycler: 95 degrees, 2’. Chill to 4 degrees, > 2’.

  - Thaw 2nd strand Master Mix; add 29 ul per tube.  Add 1 ul 2nd strand enzyme.

  - Thermocycler: 25 degrees, 10’, 37 degrees, 10’, 70 degrees, 5’, chill to 4 degrees, > 1’.

cDNA Purification:

2.1 250ul DNA binding buffer to columns, 5’, RT. Spin down at max, 1’

2.2 Add 200 ul DNA binding buffer to samples, mix gently, add to columns, let sit 1’, RT

2.3 Spin at 100g, 2’. Spin at 10,000g, 1’.

2.4 250 ul DNA Wash Buffer to columns, spin at max, 2’.

2.5 transfer columns to fresh collection tubes, add 11ul DNA elution buffer to center of column, let

sit 1’, RT.

2.6 Spin down at 1,000g, 1’. Spin down at max, 1’.

In Vitro Transcription:

3.1 Thaw IVT Buffer, IVT master mix, IVT enhancer

3.2 Add in order to each sample: 2ul IVT buffer, 6 ul IVT master mix, 2 ul IVT enzyme, 2 ul enhancer

3.3 Mix samples, spin down briefly.

3.4 Thermocycler: 3-4 hours 42 degrees.

3.5 Thaw DNase, 1ul per sample. Mix samples, spin down briefly.

3.6 Thermocycler: 37 degrees, 15’. Chill to 4 degrees, > 1’.

RNA Purification:

4.1 250 ul RNA binding buffer to each column, 5’ RT, spin down at max, 1’.

4.2 120 ul RNA binding buffer to each sample. Mix samples, spin down briefly. Add to columns, let sit

1’, RT.

4.3 spin at 100g, 1’. Spin at 10,000g, 1’.

4.4 200ul RNA wash buffer to each column, spin at 10,000g, 1’. (2X).

4.5 Transfer columns to new tubes. Add 30 ul RNA elution buffer to the center of each column, let sit

1’, RT.

4.6 spin at 1,000g, 1’. Spin at max, 1’.

4.7 samples immediately to ice; assess quantity/quality using nanodrop.