Gateway LR Clonase II Reaction Protocol

Developed by Ping in March 2011

Materials

Day 1

- pENTR – gus

- LR Clonase Enzyme Mix

- TE pH 8.0

- SOC Media

Day 2

- LB+Amp plates

- proteinase k

- puc19

- NEB Competent cells

- Glass beads

- PCR tubes

- Epitubes

Day 3

- LB Broth

Preliminary Steps

Day 1

- Set the Hybex to 25 degrees.

Day 2

- Warm LB + Amp plates up to 37 degrees.

- Put PCR tube blocks in both Hybex incubators.

- Set the other Hybex to 42 degrees.

- Thaw a tube of competent cells by resting it on top of ice.  (from the box labeled NEB 12/21/10 in the -80 freezer).  One tube has enough cells for 4 reactions.

Create a 10 ul Master Mix:

- 2 ul of LR Clonase II Enzyme Mix

- 100 ng FlexiTagII destination vector

- Enough TE at pH 8.0 reach 7 ul total volume per reaction.

Steps

Day 1

- Aliquot 2 ul of master mix into a PCR tube containing 50 ng source vector or pENTR – Gus to create a 1:2 ratio with the destination vector already added to the master mix.

- Create a negative control with 2 ul of master mix and 0 ul of entry vector

- Incubate the tubes overnight at 25 degrees in the Hybex.

Day 2

- Add .5 ul of proteinase k to each sample and incubate at 37 degrees for 10 minutes.

- Add 50 ul of competent cells into each PCR tube containing the reaction mix.

- Add 50 ul of competent cells to two additional PCR tubes labeled positive control and negative control.

- Add 1 ul of puc19 DNA to the positive control.

- Tap the tubes to mix their contents.

- Ice for 30 minutes.

- Heat shock at 42 degrees for 30 seconds, then ice for 2 minutes.

- Add cells to sterile Epitubes containing 200 ul of SOC media and incubate at 37 degrees for 1 hour in the shaker.

- Add about ten glass beads to each LB + Amp plate.

- Add all 250 ul of cells in SOC media to each LB + Amp plate and shake the glass beads for 20 seconds.

- Return the glass beads to the jar of dirty beads.

- Incubate the plates overnight at 37 degrees.

Day 3

- Pick sample colonies and incubate in LB Broth overnight in preparation for Miniprep.

Day 4

- Miniprep transformed colonies