Documentation of cell lines
Each vial of cells must be documented as thoroughly as possible.  In addition, the following information must be recorded directly on the freeze vial: owner initials, cell name, and date of freeze.  A suggested information list to be submitted to the database record is below.  Required information is marked by *.

a. Owner *– the person last working with these cells and responsible for their handling up to the last freezing.

b. Cell name* – the alphanumeric designation given to identify the cell type.

c. Cell type *– designation of the biological origin.

d. Passage # – the number of passages experienced by the cell line since the cells were developed (* for adherent cells).

e. Life expectancy – maximum number of serial passages since origin.

f. Date of origin – date on which cell line was developed.

g. Source Location – from whom the cells were received, if not created in-house (for ex. Collaborating Laboratory or ATCC).

h. Freeze date *– the date on which the cells were frozen.

i. Storage Location* – designated place in the storage tanks.

j. Cell count – approximation of the number of cells per vial.

k. Culture medium* – the culture medium required for the cell culturing.

l. Special properties – characteristics or use.

m. Safety information – Does this cell line contain any agent known to be hazardous to humans, animals or plants?  If yes, what is the Biosafety level for working with this culture?

n. Comments – additional comments or recommendations useful to future experimenters regarding cell maintenance.

Information for each Cell Line (Required Denoted by *):

	Owner*
	

	Cell Name*
	

	Cell Type*
	

	Passage Number (* for adherent)
	

	Life expectancy
	

	Date of Origin
	

	Source Location
	

	Freeze Date*
	

	Storage Location*
	

	Cell Count
	

	Culture Medium*
	

	Special Properties
	

	Safety Information
	

	Test for freeze success
	

	Test for bacterial/fungal contamination
	

	Mycoplasma Test
	

	Special properties verification
	

	Comments
	


Rack: ___________ Tray: _______________

Date: ___________

	1
	2
	3
	4
	5

	6
	7
	8
	9
	10

	11
	12
	13
	14
	15

	16
	17
	18
	19
	20

	21
	22
	23
	24
	25


	Space
	Description
	Name/Initials
	Passage
	Freeze Date

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	

	6
	
	
	
	

	7
	
	
	
	

	8
	
	
	
	

	9
	
	
	
	

	10
	
	
	
	

	11
	
	
	
	

	12
	
	
	
	

	13
	
	
	
	

	14
	
	
	
	

	15
	
	
	
	

	16
	
	
	
	

	17
	
	
	
	

	18
	
	
	
	

	19
	
	
	
	

	20
	
	
	
	

	21
	
	
	
	

	22
	
	
	
	

	23
	
	
	
	

	24
	
	
	
	

	25
	
	
	
	


