## Slide 1: Final Presentation 11-16-2012

## Slide 2: Sample Preparation
Nextera
TruSeq
RiboZero
Strand Specific
Clontech
smRNA
16s

## Slide 3: Nextera
Quantification issues
Nextera libraries consistently have lower qPCR concentrations compared to BA; usually about half as concentrated
Illumina Sequences

## Slide 4: My Guess?

## Slide 5: Nextera Sequences
CTTAATGATACGGCGACCACCGAGATCTACACTAGATCGCTCGTCGGCAGCGTCAGATGTGTATAAGAGACAGTCGTGATGGACTGCCGTAACGGCGACCTGCTGTGCATGGCCTCCGCGCCGAGCTTCGACGCCAACCGGTTCGTGCGGGGGCTGTCCGGTCCTGAGTACAAGGCCCTGGCCGAGTACGAGCGCAAGCCGCTGCTCGACAAGTCGATGACCGGCCTGTTTCCGCCCGGCTCGACCTTCAAGCCCACGGTGGGTCTGGCCGCCCTGGCCGCCGGCATCGATCCCGAGGTCCGGGTCAACTGTCCGGGCAGCTGGTACTATGGCGGTCGGGTGTGGCGTTGCTGGGAGAAGGGCGGCCACGGCCTGTCTCTTATACACATCTCCGAGCCCACGAGACTAAGGCGAATCTCGTATGCCGTCTTCTGCTTG

## Slide 6: TruSeq
100ng – 4000ng total RNA input
“yield” ~70%
PolyA based purification
Eukaryotic only
RINs should be greater than 9

## Slide 7: RiboZero
1- 3ug total RNA input, can handle fragmented RNA
rRNA depletion, magnetic beads with capture probes against rRNA
Creates libraries with mRNA and non-coding RNAs
Species specific reagents, prokaryotic and eukaryotic
High rRNA background with input above 3ug; might be worth doing rRNA removal twice

## Slide 8: Strand Specific
Requires greater than 1ug total RNA input
dUTP 2nd strand marking protocol
Need to add Actinomycin D during 1st strand synthesis
TruSeq and RiboZero protocols can be used for strand specific preparations

## Slide 9: Clontech
100pg total RNA input
polyA based purification, eukaryotic only
Requires RIN greater than 9
Full length cDNA, requires sonication or treat with Nextera (never tested)
Reagents have short shelf life ~6 months

## Slide 10: smRNA
1-10ug total RNA, RIN greater than 9
Only 12 barcodes in stock
Requires addition size selection

## Slide 11: Pippin Prep
Software does not consistently call ladder.
Yeild ~50%
Size selection +- 40bp

## Slide 12: Metagenomics/16s Sequencing
Metagenomics is an emerging field
Genomic analysis is applied to microbial communities rather than individual microbes
Bypasses the need to isolate and culture
individual microbial species
Many microbes are resistant to culturing
Has potential medical uses.

## Slide 13: 16s
Two PCR steps used to create V4 specific sequence capable libraries.
Dual Barcodes – 1st read 5’ barcode. 2nd read 3’ barcode
V1 V2 V3 V4 V5 V6 V7

## Slide 14: Offset Primers
High base conservation upstream and downstream of V4 region
Designed primers to offset sequence to improve base balance

## Slide 15
T | B | A | R | C | O | D | E | T | G | C | C | A | G | C
T | B | A | R | C | O | D | E | A | T | G | C | C | A | G
T | B | A | R | C | O | D | E | T | C | T | G | C | C | A
T | B | A | R | C | O | D | E | C | A | A | T | G | C | C
Upstream – Read 1
Downstream – Read 2
C | G | A | T | C | T | G | G | A | C | T | A | H | V | G
C | G | A | T | C | T | A | G | G | A | C | T | A | H | V
C | G | A | T | C | T | C | A | G | G | A | C | T | A | H
C | G | A | T | C | T | T | C | T | G | G | A | C | T | A

## Slide 16: To Do
Optimize RiboZero to reduce rRNA contamination
Test ability to use Nextera instead of covartis fragmentation for clontech samples
Run 16s offset samples to check base balance