## Slide 1: DNA Transfection into Prokaryotic and Eukaryotic Cells
Lily Chan and Tim Johnstone

## Slide 2: Transfection: to transfer DNA into cells (either eukaryotic or prokaryotic) not through use of a viral vector. The approaches for eukaryotic and prokaryotic-cell transfection are slightly different.
We have two things to worry about: the cells we are transforming, and the DNA that we want to put into the cell.

## Slide 3: Transfection Stability
Transient Transfection
  Gene products are expressed in the target cells however the nucleic acids do not integrate into the host cell genome.
  Results in high expression levels that persist for 24-72 hours when RNA is transfected, or 48-96 hours following DNA transfection
Stable Transfection
  Initially the gene of interest has to be introduced into the cell, subsequently into the nucleus and finally it has to be integrated into chromosomal DNA
  To isolate stably transfected cells, selection is used
  Transfected sequence is integrated randomly into the genome
Transient Transfection
Stable Transfection

## Slide 4: Prokaryotic Transformation
First, the DNA…
DNA is most easily taken up if it is in plasmid form (as opposed to linear form… although certain cells can take up linear DNA) If the plasmids are nicked, or have been re-ligated, this can lower transformation efficiency– supercoiled DNA gives the highest transformation efficiency.
Generally, the plasmid will have an antibiotic-resistance marker (i.e. tetracycline, kanamycin, or ampicilin, which stop bacterial growth through different means) so that the cells that were successfully transformed can be identified.

## Slide 5: Then, the cells…
Competent: able to take up DNA. Although some bacteria are naturally competent, most have to be made competent in the lab. This is known as “artificial competence.”
We can get the cells already competent (ordered from a company) or we can make cells competent in the lab.
Two common ways to achieve prokaryotic cell competence are:
Electroporation (also works for eukaryotes)
Using calcium chloride
CaCl2
CaCl2
CaCl2
CaCl2
CaCl2

## Slide 6: Electroporation!
The general idea behind electroporation is that by applying a short electrical pulse to the cells, we can alter membrane conductivity and permeability. It is more effective than the CaCl2 method (chemical competence).
DNA is a negatively charged molecule due to phosphate groups (in its “backbone”).
electroporated – hydrophilic pore
normal
Polar molecules don’t normally cross the cell membrane easily because the inside is hydrophobic. But electroporation makes pores in the membrane that are hydrophilic, enabling DNA to pass through.

## Slide 7
1. Inoculate a colony into ~50 ml (no salt) LB and grow at 37°C overnight.
2. Add ~25 ml culture medium into 1 L LB medium.
3. Grow the cells at 37°C in a shaking incubator.
4. Grow cells to an A600 of ~0.6-0.7. This represents the bacteria’s log-phase growth. Why log phase? Cells in this phase are growing rapidly, and are healthy and uniform. (Also keep in mind that since they divide so rapidly, you should work at a decent pace.)
5. Pour ~250 mL into a tube and spin down in a centrifuge at 4°C.
6. Remove supernatant and resuspend
cells in dH2O.
7. Repeat centrifugation/removal of supernatant several times.
8. Resuspend in 10% glycerol and keep in freezer until ready to use.
To make electrocompetent cells:
If wastes were removed and nutrients were supplied infinitely, the bacteria would keep growing. But because that’s not the case, at stationary phase, the rate of cell growth equals the rate of cell death.

## Slide 8
To electroporate:
Keep cells cold (on ice)!
Prepare the DNA you want to put into the cells (i.e. dilute it. Usually you don’t need a very high DNA concentration).
Pipette some (~100 µL) cells and DNA (~1 µL?) into a cuvette.
After making sure the settings on the electroporator are correct, put the cuvette in and press the button. Your settings should maximize the number of transformed bacteria while also keeping as many alive as possible.
Within 30 seconds of electroporation, pipette about half a mL of SOC (recovery medium). SOC is basically a bunch of salts, glucose, animo acids (tryptone) and some yeast extract. Mix.
Let the cells recover at 37°C in a shaking incubator for about an hour. Shocking them stresses them out.
Plate the cells and let them grow.

## Slide 9: Arcing…
If you see or hear a spark coming from the cuvette, then the cells are dead! Repeat that sample.
Things that can cause arcing:
  excess water on cuvette outside
  human skin oil on cuvette outside
  too high salt concentration in DNA sample (try diluting DNA.)

## Slide 10: Nucleofection
Transfects DNA directly into the nucleus without requiring dividing cells or viral vectors
Uses a combination of electrical parameters and cell-type specific reagents
Provides the ability to transfect even non-dividing cells, such as neuron and resting blood cells
Optimal nucleofection conditions depend on the individual cell type, not the substrate being transfected
The future of electroporation?
Nucleofection basics:
0.5 - 1.5 x 106 cells
2-5 µg highly purified plasmid DNA (in max. 5 µl H2O or TE)
100 µl Nucleofector Solution (cell-type specific)
Perform each sample separately to avoid storing the cells longer than 15 min in Nucleofector Solution.
Cells should be nucleofected at 70-80% confluency.

## Slide 11: The CaCl2 method
This method also alters the permeability of the cell membrane:
Ca2+ interacts with the negatively charged phospholipid heads of the cell membrane, creating an electrostatically neutral situation.
Lowering the temperature stabilizes the membrane, making the negatively charged phosphates easier to shield.
Then a heat shock creates a temperature imbalance and thus a current, which helps get the DNA into the cell.

## Slide 12: Making Chemically Competent Cells
1. Inoculate one colony. Incubate at 37°C overnight.
2. Inoculate 1-ml overnight culture into 100 ml LB medium.
3. Grow to log phase.
4. Put the cells on ice for 10 minutes. Keep them cold!
5. Centrifuge for ~5 minutes.
6. Remove supernatant and gently resuspend on 10 mL cold 0.1M CaCl2.
7. Incubate on ice for 20 minutes.
8. Centrifuge again for ~5 minutes again.
9. Discard supernatant and gently resuspend in 5mL cold 0.1MCaCl2 +15%Glycerol
10. Dispense in eppendorph tubes. Freeze in -80°C.

## Slide 13: Transformation of Chemically Competent Cells
Put 1µL DNA in an eppendorph tube. Add ~100µL of competent cells.
Incubate for 30 mins on ice.
Heat shock for 2 mins at 42°C.
Put back on ice.
Add 900 µL of LB or SOC to tubes to keep the cells happy. Incubate at 37°C for 30 mins.
Plate the cells, and let them grow.

## Slide 14: Other biochemical methods
Lipofection
Uses cationic liposomes that form a complex with DNA
DNA is not encapsulated within the liposomes, but bound to the outside
Dendrimers
Dendrimers are highly branched molecules that form a complex with DNA
Once DNA has formed a complex with these molecules, endocytosis allows the complex to enter the cells

## Slide 15: Lipofection
Protocol The cells should be 75% confluent at the time of lipofection.
For each dish of cultured cells to be transfected, dilute 1-10 µg of plasmid DNA into 100 µl of sterile deionized H2O (if using Lipofectin) or 20 mM sodium citrate containing 150 mM NaCl (pH 5.5) (if using Transfectam) in a polystyrene or polypropylene test tube. In a separate tube, dilute 2-50 µl of the lipid solution to a final volume of 100 µl with sterile deionized H2O or 300 mM NaCl. When transfecting with Lipofectin, use polystyrene test tubes; do not use polypropylene tubes, because the cationic lipid DOTMA can bind nonspecifically to polypropylene
Incubate the tubes for 10 minutes at room temperature
Add the lipid solution to the DNA, and mix the solution by pipetting up and down several times. Incubate the mixture for 10 minutes at room temperature.

## Slide 16: Lipofection Protocol (cont’d)
While the DNA-lipid solution is incubating, wash the cells to be transfected three times with serum-free medium. After the third rinse, add 0.5 ml of serum-free medium to each 60-mm dish and return the washed cells to a 37°C humidified incubator with an atmosphere of 5-7% CO2. It is very important to rinse the cells free of serum before the addition of the lipid-DNA liposomes.
After the DNA-lipid solution has incubated for 10 minutes, add 900 µl of serum-free medium to each tube. Mix the solution by pipetting up and down several times. Incubate the tubes for 10 minutes at room temperature.
Transfer each tube of DNA-lipid-medium solution to a 60-mm dish of cells. Incubate the cells for 1-24 hours at 37°C in a humidified incubator with an atmosphere of 5-7% CO2.
After the cells have been exposed to the DNA for the appropriate time, wash them three times with serum-free medium. Feed the cells with complete medium and return them to the incubator.
If the objective is stable transformation of the cells, select for those cells after 24-72 hours

## Slide 17: Microinjection
Single cell at a time
Requires major precision, time, and labor
DNA is inserted directly into nucleus (high success factor)
CELL PREP
Plate cells on a glass coverslip.
For a good injection, a 60-80% cell confluence at the day of injection is required.
The day of the experiment transfer each coverslip in a 6 cm diameter plate with 5 ml of medium/plate
DNA PREP
Dilute the DNA in ddH2O to a final concentration of 20-150 ng/µl
Centrifuge 15 min. at 13.000 rpm RT and transfer the supernatant in a new clean eppendorf tube.
You can mix different DNA but the final concentration has to be 150 ng/µl total max. Alternatively IgGs can be mixed to the DNA in order to use them as microinjection efficiency marker.
Inject the sample into target cell nuclei

## Slide 18: Optical Transfection
Uses a laser to create a temporary “photopore” on the cell membrane which DNA can pass through
Operates on one cell at a time: cells must be well isolated
Simplified Protocol:
Build an optical tweezers system with a high NA objective and an 800 nm femtosecond pulsed laser
Culture cells to 50-60% confluency (50-60% of plate is covered)
Expose cells to at least 10 µg/ml of plasmid DNA
Dose the plasma membrane of each cell with 10-40ms of focused laser, at a power of <100mW at focus
Observe transient transfection 24-96h later
Add selective medium if the generation of stable colonies is desired

## Slide 19: Gene Gun (biolistic particle delivery)
Uses compressed gas to deliver DNA-coated heavy metal particles
Able to transform almost any type of cell
Mostly used for plant cells
Can inject dyes, plastids, vaccines, and other substances
More suited to tissues than small cells or cultures, as the high velocity particles have a high chance of rupturing cells (pit effect)

## Slide 20: Calculating Transformation Efficiency (Don’t you want to see how effective your hard work was?)
Transformation efficiency (transformants/µg)
is calculated as follows:
# colonies on plate/ng of DNA plated X 1000 ng/µg
Things that affect transformation efficiency:
  Actual DNA Concentration
  Forms of DNA - Linear and single-stranded DNA transforms <1% as efficiently as supercoiled DNA.
  Purity of DNA- DNA can be contaminated with salts. Also, ligase can interfere with transformation. You can heat-inactivate the ligase before the transformation. You can also column-purify your DNA.
  Freeze/Thawing of Cells - Cells that are refrozen will lose activity, typically at least two-fold.

## Slide 21: A Quick Note:
Generally, it is good practice to do a control transformation (with water) just to aid any future necessary troubleshooting. If you get colonies on the control plate, something definitely went wrong with your transformation.
?

## Slide 23: References
Optical transfection
  Femtosecond optical transfection of cells: viability and efficiency, Stevenson, D., Agate, B., Tsampoula, X., Fischer, P., Brown, C. T. A., Sibbett, W., Riches, A., Gunn-Moore, F., and Dholakia, K. Optics Express 14(16) 7125-7133 (2006)
Gene gun
  http://www.brookscole.com/chemistry_d/templates/student_resources/0030244269_campbell/HotTopics/DNAVaccines.html
Chemical methods
  Promega Protocols and applications guide
Microinjection
  http://www.research.uci.edu/tmf/images/pronuc1800.jpg
  http://imaging.service.ifom-ieo-campus.it/microinjection_protocol.html
Transient/stable transfection
  http://www.lonzabio.com/stable-transfection.html
Lipofection
  GUIDE TO EUKARYOTIC TRANSFECTIONS WITH CATIONIC LIPID REAGENTS – Life Technologies
  http://cshprotocols.cshlp.org/cgi/content/full/2006/2/pdb.prot3870
Nucleofection
  Optimized protocol for cell-line optimization nucleofector kit – Amaxa, 2005