Spheroid Culture

Materials

Reagents

Complete media

Sterile PBS

Trypsin

Ice

Poly-NIPAM gel

Trypan Blue

Plastics/ glassware

24 well plate

15 mL tube (2)

1.5 mL Eppendorf tube

P-1000 positive displacement pipette

Large beaker

Cell counting slide

Procedure

- Grow cells in 2D culture until confluent

- Aspirate media from flask and rinse cells twice with sterile PBS

- Add Trypsin to flask, gently agitating cells to ensure contact is made with Trypsin

- Place flask in incubator for 5 minutes, or until cells are sufficiently removed from plate; however, do not exceed 20 minutes, as Trypsin is cytotoxic

- After Trypsinization, add media to Trypsin in a 2:1 ratio

- Transfer cells suspended in the Trypsin/ media solution to a 15 mL tube and spin in centrifuge for 5 minutes at 200 g

- During this time, label and place a new 24 well plate into the incubator

- Add ice to a beaker and place Poly-NIPAM gel flask and a 15 mL tube on ice

- Aspirate Trypsin/ media solution from 15 mL tube and resuspend cells in 3 mLs media

- Using a 1.5 mL tube, add 20 uLs of cell suspension

- Subsequently add 20 uLs of Trypan blue and resuspend to mix with cells thoroughly

- Add 20 uLs of this solution to a cell counting slide and calculate live cell population

- Calculate number of cells needed to achieve 5,000 cells per well in a 600 uL volume of Poly-NIPAM gel

- Remove 24 well plate from incubator

- Aliquot 600 uL of Poly-NIPAM to the chilled 15 mL tube using a positive displacement pipette

- Add appropriate amount of cells to gel and stir with tip (do not resuspend with this tip as the gel is very viscous)

- Add 140 uLs of cell/ Poly-NIPAM suspension to one well in the 24 well plate using positive displacement pipette

- Hold pipette as vertical as possible, aiming to place the gel in the center of the well; try not to add any bubbles to the gel by pipetting at a steady pace both when taking the suspension from the 15 mL tube and when placing the gel in the well

- Once all the gels have been pipetted into their wells, place plate in incubator for 10 minutes

- When ready, add 800 uLs of media to each well and return to incubator to allow spheroid formation