Protocol for growing cells for ribosome preps



4/1/2010
Written by Anne Bunner, based on protocol used by Michael Jewett and Ruben Gonzalez. Edited by Michael Jewett and Brian Fritz.
Day 0 – Streak fresh plate of MRE600 cells

Time required: 0.5 hours
Day 1 – Making media and inoculating starters
Time required: 4 hours

2XYT for 1 L of media
(for 4L)
(for 250 mL: 2 starters and blank)

16g tryptone
64g
4g
10g Yeast extract
40g
2.5g
5g NaCl
20
1.25g
pH to 7.2 using 1M or 5M NaOH, or use KOH if NaOH is not available.

If using Tunair filter flasks, put foil over the filters before autoclaving. Keep autoclaved flasks at room temperature overnight. Use 250-500 mL flasks with 100 mL culture in each for starters, and autoclave extra 50 mL in bottle or beaker for use as blank for spec.

Also should autoclave:

· 800 mL beaker for scooping ice

· Spatula for dispensing ice

· Something for measuring cells going into bottles that is safe to autoclave
· 100-200 mL bottle for Buffer A

· Centrifuge bottles (if possible)

Note: Polycarbonate bottles such as those for the SLC-6000 cannot be autoclaved.
Make Buffer A, if needed. Put bottle of Buffer A in cold room.

Buffer A


Stock

Volume per 500 mL
Notes:
20 mM Tris HCl, pH=7.2 @ 4°C
1 M

10 mL


Needd 125 mL for

100 mM NH4Cl


3 M

16.7 mL


harvesting cells

10 mM MgCl2


4.9 M

1020 (L

0.5 mM EDTA


0.5 M

500 (L

6 mM BME


14.3 M

210 (L*
* add just before use
Inoculate 100 mL 2xYT with MRE600 cells from a freshly streaked plate. Frozen stock is ok, but plate is preferred. Shake at 37°C overnight (~16 h) at 190-225 rpm.

Day 2 – Growing and harvesting cells

Time required: 7 hours
1.
Put the Tunair flasks in the shaker to pre-warm 15 min.

2.
Turn on spectrophotometer visible lamp. Check OD 600 nm of overnight culture. (Visible lamp does not need to warm up.)
3.
Before inoculation, record pH of media.

4.
Inoculate 4x1L with 0.2 mL overnight culture and 4x1L with 0.5 mL overnight culture each.
5.
Place flasks in shaker at 225 rpm at 37 C. 
6.
Make sure Buffer A is chilling.

7.
Make sure rotors are chilling. Will need Sorvall SLC-6000 (large fiberglass) and eppendorf F34.

8.
Turn on Sorvall centrifuge and chill to 4 C.

9.
After 1 hour, start checking the OD 600nm of every flask regularly using media as blank. Growth usually takes 3-4 hours.

10.
When the OD reaches 0.1, fill sink in cold room halfway with ice. Also put 6 centrifuge bottles (autoclaved if possible) in cold room.

11.
When cells get to 0.5 OD (typically ~3-4 hours), transfer flask to ice and add 700-800 mL ice per liter using autoclaved beaker and spatula. Begin transferring cells to centrifuge bottles and preparing to harvest immediately after adding ice.

12.
For SLC-6000 rotor, use 750 mL media per bottle. Measure media with autoclaved graduated container. Balance bottles with scale near centrifuge.

13.
Spin cells at 6000 rpm for 10 min to harvest.

14.
While cells are spinning, weigh two 50 ml falcon tubes and record weights. Also, aliquot out 125 mL of cold Buffer A and add BME (52.4 uL in 125 mL).

15.
Discard supernatant into 4 L waste beaker.

16.
After cells are all harvested, add 15 mL cold Buffer A to each tube and resuspend pellets.

17.
Transfer cells to two pre-weighed 50 mL falcon tubes.

18.
Spin in eppendorf benchtop centrifuge in F34 rotor with adapters at 6100 rpm (~5000g) for 12 min to pellet. (Rotor lid will not go on but don’t worry about it. Just be sure to tighten rotor down with hex screw located over the centrifuge)

19.
Resuspend pellets using ~15-20 mL Buffer A each and combine into single tube. Do quantitative transfer with buffer to get all cells into single tube.

20.
Spin at 6100 rpm (~5000g) for 12 min to pellet. During spin, go get liquid nitrogen (located near bridge between Cook and Hogan on 2nd floor).

21.
Pour off supernatant and drain pellet upside down on paper towel in cold room 2-5 min. 

22.
Weigh pellet. Base weight on original mass of weighed tube. Typical yields are 3-4 g per 4L, doubling time of ~20 minutes.
23. Score pellet by dragging a small pipette tip through it as if to draw a pound sign.
24.
Label tube with name, date, and strain, and freeze cells in liquid nitrogen. Store at -80 C

25.
Don’t forget to: 
· Turn of spectrophotometer lamp
· Turn off Sorvall centrifuge

· Clean out Sorvall rotor

· Turn off shaker.

