## Slide 1
Opaque 96-well
Capture probe
HIV RNA (from lysed particles)
Target probe
Pre-amplifier
probe
Amplifier
probes
Label probes +
Alkaline phophatase
Versant Branched-DNA assay
# of RNA strands is proportional to chemiluminescence intensity from
alkaline phosphatase reaction

## Slide 2
Wave80’s Versant Branched-DNA assay
A ~ 734,000 cp/mL
B ~ 45,000 cp/mL
C ~ 4,500 copies/mL
D ~ 450 copies/mL
E ~ 90 copies/mL
Neg. control
Reliable detection threshold ~ 450 copies HIV RNA/mL

## Slide 3
A
Hi
B
C
Lo
E
F
D
Neg. ctrl
Our b-DNA assay has lower sensitivity than Wave80
C ~ 4,500 copies/mL
Plate reader either has lower sensitivity / dynamic range, or we could have
overall RNA breakdown