Buccal DNA isolation method

1. Vortex the tubes for 20 seconds to ensure release of cells.

2. Boil tube on hot plate for about 10 minutes.

3. Vortex again, briefly.

4. Remove and discard brush using clean forceps. Can store at this stage for at least a week if necessary (4 oC)

5. Add 83(l of 1M Tris-CL,(pH8.0) genomic quality, to neutralise.

6. Spin 2 minutes at 4000RPM to pellet debris. 

7. Transfer 400(l into each of two tubes – AVOID precipitate.  1 tube into GSLF box 10 and 1 tube into UK box 10. Use 1(l in 10-20(l PCRs.

8. Store at 4 oC  or -20 oC.

