## Outline
General Data
Name
Date and Time of Run
Purpose (<10 words)
Circuit Information
Machine Used |  | Victor X3
Temperature
Misc. Notes
Useful Information
* 5% loss of volumes are accounted for in the calculator at necessary steps. (3 compensations total)
* Under DNA preparation, a 12.6uL reaction is prepared for each repeat. Then, if adding items per tube, calculate as part of total of 12.6uL* # repeats. (not 12uL * # repeats!)
* Contact for questions: zsun@caltech.edu, chayes@caltech.edu
Instructions
0) Set plate reader to incubate at 29C. Set plate centrifuge to RT.
1) Fill in data in green boxes.
2) If constructs are using inducers or other items such as additional DNA, protein extracts, etc... fill in inducer amounts in blue boxes. Extract Prepration should avoid using transcribable objects.
3) Thaw number of tubes in the orange boxes on ice.
4) Prepare DNA using data (user supplied) in the blue boxes and (spreadsheet supplied) in the purple boxes. Label these tubes by ID.
5) Error check: Text that is red indicates either non-pipetable amounts of reagent or system overload!
6) Combine all extract tubes into one. Repeat for amino acid mix, and 3-PGA. Note: Extract is extremely viscious, be careful to avoid bubbles!
7) Remove other ingredients from +4.
8) On ice, prepare the Master Mix in the order presented. Vortex the mix after addition of each item! Note: PEG8000 is very viscious.
9) To step 5, add the amount of Master Mix per tube by the grey box. Keep constructs at room temperature.
10) To the plate, add reactions in 12uL aliquots, pipeting up and down BEFORE adding to the plate to ensure mixing and no air bubbles.
11) Spin the plate up to 2000RPM in the plate centrifuge.
12) Add white-backed sticky cover to plate.
13) Use protocol "zs-txtl" (if Victor X3). Ensure 300 reads, 150s intervals, for your reporter of interest. Label wells.
14) Save this excel under lac.cds.caltech.edu/murraylab, in the TXTL folder. Paste data here when finished!
Extract Preparation
Ingredient | Stock conc. | Final conc. | Master Mix (uL) |  | # Rxns: | 0
Extract | 1 | 0.33333 | 0
Mg-glut (mM) | 100 | 1 | 0 |  | Tubes to Thaw:
K-glut (M) | 3 | 0.04 | 0 |  | Extract (-80) | 0
AA mix (mM) | 6 | 1.5 | 0 |  | AA Mix (-80) | 0
3-PGA (x) | 14 | 1 | 0 |  | 3-PGA (-80) | 0
DTT (mM) | 100 | 1 | 0
PEG8000 (%) | 40 | 2 | 0
() |  |  | 0
() |  |  | 0
() |  |  | 0
() |  |  | 0
DNA Preparation
ID | Plate Loc. | Name | Conc. (ng/uL) | Length (bp) | # Repeats | Final conc. / rxn (nM) | () uL | () (uL) | () (uL) | () (uL) | DNA (uL) | Water (uL) | MM to add (uL) | Notes
1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
3 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
4 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
5 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
6 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
7 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
8 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
9 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
10 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
11 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
12 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
13 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
14 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
15 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
16 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
17 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
18 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
19 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
20 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
21 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
22 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
23 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
24 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
25 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
26 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
27 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
28 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
29 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
30 | [6 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Form History
Last Modified 8/13/12 Version 2.3
2.0: Initial form, taking over from formulas(autosaved).xlsx
2.1: Edited instructions, added a useful information part
2.2: Added more information under "basic information"
2.3: Instructions editing
Internal Use
Dropdown: | Victor X3
Synergy
29 Shaker
Specs
Other (specify)