## Sheet1
Treatment: Probe
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | X:18S | X:18S | X:18S | X:IL-6 | X:IL-6 | X:IL-6 | X:OSM | X:OSM | X:OSM | NAC | NAC | NAC
B | Y:18S | Y:18S | Y:18S | Y:IL-6 | Y:IL-6 | Y:IL-6 | Y:OSM | Y:OSM | Y:OSM | NTCRT | NTCRT | NTCRT
C | [9 empty] | NTCPCR | NTCPCR | NTCPCR
D
E
F
G
Treatment | 18S Ct |  | IL-6 Ct | DCt IL-6 | Rel. Exp. IL-6 | Calibrated IL-6 |  | OSM Ct | DCt OSM | Rel. Exp. OSM | Calibrated OSM
Treatment X | 22.49 |  | 25.03 | 2.38 | 0.19211 | 2.0047 |  | 26.5627 | 3.9127 | 0.066398 | 1.8845
| 23.38 |  | 26.58 | 3.93 | 0.065607 | 0.68463 |  | 27.7804 | 5.1304 | 0.02855 | 0.8103
| 22.08 |  | 27.72 | 5.07 | 0.02977 | 0.31066 |  | 29.1889 | 6.5389 | 0.010755 | 0.30524
average | 22.65 |  | 26.4433 |  | 0.095829 | 1 |  | 27.844 |  | 0.035234 | 1
Treatment Y | 22.0371 |  | 22.7352 | 0.89617 | 0.53731 | 5.607 |  | 26.7447 | 4.9056 | 0.033363 | 0.94689
| 21.7951 |  | 22.507 | 0.668 | 0.62938 | 6.5677 |  | 26.2283 | 4.3893 | 0.047719 | 1.3543
| 21.685 |  | 24.3574 | 2.5184 | 0.17454 | 1.8214 |  | 25.4692 | 3.6301 | 0.080765 | 2.2922
average | 21.8391 |  | 23.1999 |  |  | 4.6654 |  | 26.1474 |  |  | 1.5312
NAC | 40 |  | 40 |  |  |  |  | 40
NTCRT | 40 |  | 40 |  |  |  |  | 40
NTCPCR | 40 |  | 40 |  |  |  |  | 40
In this example cells were treated with X (control) or Y and we want to measre IL-6 or OSM relative to 18S.
Note that these numbers are meant to represent replicates of three and therefore should be very close in value to one another...
...but these numbers are actually the average of triplicate Taqman samples that came from samples from 3 individual mice
So Treatment Y caused IL-6 to increase 4.6 fold from baseline (Treatment X). OSM was increased 1.5 fold.
Look at the formulas in each cell to see how these values were calculated.
From the template, the value in excel cell B1 corresponds to B16, from B2 to B17, from B3 to B18