Invasion Assay (Transwell, Boyden Chamber)

ADS, 4/17/17

Materials:

24-well plate

Transwell inserts (8µm pores)

Matrigel (stored at -20°C, thawed on ice)

Serum Free (SF) medium, type specific to cells

Medium (+ optional chemo-attractant)

4% formaldehyde in PBS

Protocol:

- UV sterilize inserts for at least an hour.

- Thaw Matrigel on ice. Make a 1:9 Matrigel:SF Medium solution on ice.

- Pipette 100µL of Matrigel solution (for 24-well insert) into each transwell insert and let it set in the incubator or a 37°C oven. This will take 4-5 days in the incubator, but less time in a dry oven. The solution should be fully set and not flow when the plate is tilted.

- In a new 24-well plate, pipette 500µL of media with optional chemo-attractant into the lower compartment of each well.

- Using tweezers, carefully place 1 insert per well, and seed 100,000 cells/insert in the upper compartment in SF media.

- Incubate for 24-72 hours. This will need to be optimized based on cell type, chemo-attractant and pore size.

- At the end of the experiment, fix both top and bottom of insert with 4% formaldehyde and wipe the top of the insert with a cotton swab to remove cells and Matrigel from the top of the insert.

- Count cells on the bottom of the dish and underside of the insert. Cells can also be immunofluorescently labeled or DAPI labeled at this point.

Depiction:

Keenan and Folch, Lab Chip, 2008,8, 34-57