Prather Lab Clean-up Checklist

- Remove excess ice and frost from door and cabinets of -80°C freezer

- Decontaminate ethidium bromide waste

- Decontaminate and empty aspirator waste

- Autoclave biohazardous waste

- Discard excess buffers from Qiagen/Zymo kits (check disposal guidelines)

- Remove and replace all absorbent pads (mini-prep station, EtBr staining, main sink)

- Discard/store LC/MS samples near instrument (LC/MS users)

- Discard old LC/MS buffers, tag full waste bottles, request waste pickup  (LC/MS users)

- Refrigerator

  - Discard old plates, cultures, buffers etc. on personal and common shelves

- Discard un-needed samples in freezers, especially those from old UROPS (personal)

- Chemical inventory

- Solvent cabinet: dispose of expired chemicals, consolidate bottles if possible

- Restriction enzymes

  - Inventory enzymes in -20°C freezer

  - Order any missing/low enzymes

  - Discard extra buffers (in refrigerator)

Clean:

- Biosafety cabinets with soap/water, then alcohol

- Fume hood

  - Remove solutions, cuvettes, tubes, tips, etc.

  - Request chemical waste pickup if necessary

  - Clean vent in back of hood

- Spectrophotometer – wipe surface, remove old cuvettes

- Balances

- Exterior and interior of centrifuges (remove rotors), and rotors

  - Room-temp mini

  - Refrigerated mini

  - Hi-speed

- Incubators (wipe down with alcohol) – Remove old plates, flasks

- Water bath – inside (dump out water) and outside, refill with distilled (not deionized) water

- Door of refrigerator – wipe down with Windex

- Glassware

  - Clean glassware on benches (clean your own)

  - Place dry, clean glassware back on shelves

  - Autoclave shake flasks

- All benchtops (common and personal)

- Microwaves (lab and office)

- Office refrigerator

- Vacuum office floor

- Sweep lab floor