ECL Detection PROTOCOL
1. 
Each blot has been incubating in 10 ml of blocking buffer for a hour on an orbital shaker. (The blocking buffer contains 5% milk in phosphate buffered saline with 0.25% Tween, a detergent. The proteins in the milk bind non-specifically to the nitrocellulose, “blocking” sites where the primary antibodies might bind non-specifically.)

2. 
Pour off the blocking buffer into the sink (try to leave as little volume as possible so the primary antibody will not be further diluted). Add the primary antibody (rabbit anti-pre-pro--factor), which has already been diluted 1:1000 in 10 ml of blocking buffer. Incubate on the rocker for 1 hour. *Note: you will need to save the primary antibody for use by other lab groups. Do not discard it after the incubation is finished.

3. 
Return the primary antibody solution to the conical centrifuge tube and give it back to your instructor (try to recover as much volume as possible). Pour PBST wash buffer onto the nitrocellulose so that it is submerged by approximately 0.5 cm of liquid. Incubate 10 min. on the shaker.

4. 
Pour off the wash buffer into the sink. Add fresh wash buffer and incubate another 10 min. on the shaker.


5.
Repeat Step 4 once more (a total of 3 10-min. washes).

6. 
Dilute the HRP-conjugated goat anti-rabbit secondary antibody 1:2500 in 10 ml blocking buffer (i.e. add 4 µl of antibody to 10 ml of blocking buffer). Incubate 30 min. on the shaker.

7. 
Pour off the secondary antibody solution into the sink (you do not need to save this).

8. 
Wash three times with PBST (10 min. each wash) as you did after the primary antibody incubation. After the last wash, remove all residual wash buffer by tilting the blot container onto a paper towel.

*Do not proceed with the following steps until your instructor is available to help you with the film exposure and developing. Leave your blot in the final batch of wash buffer until that time. The following directions for performing the ECL may be different depending on which manufacturer’s kit we use. Check with your instructor to see if the following step (ratio of reagents 1 &2) needs to be modified before proceeding.  

9. 
Pipet 3 ml of ECL detection reagent 1 into a 15-ml conical tube and add 75 µl of reagent and invert to mix. Be sure to use a clean pipet for each detection reagent—it is important for the two solutions not to mix until just before you use them! Make sure that you record all the kit information in your lab notebook as the reagents are proprietary. You will need to include manufacturer information for using this kit in your M&M section since you don’t know the ingredients and concentrations for these reagents.
10.
Pour the mixed ECL developing solution onto your blot. Make sure all the membrane is in contact with the liquid by rocking the container slightly back and forth by hand for 1 min. Discard the ECL reagents in the sink.
11.
Working quickly but carefully, use forceps to place your blot onto a piece of paper towel. Using another piece of paper towel, gently blot the nitrocellulose to remove excess liquid.
12.
Use forceps to place the membrane blot—protein side up—between the two plastic sheets of a page protector that has been taped into an autoradiography cassette.

13.
With your instructor, take the cassette into the darkroom. Hold the open cassette up to the light for about 20 sec. to activate the glow-in-the-dark StratageneTM logo marker. (This will help in aligning your developed film with the MW markers on the blot.) 

14. 
Flip the switch to turn off the normal light and turn on the safe light. (Also, make sure the computer monitor in the room is turned off.) Open the film container and remove one piece of film. Be sure you actually get a piece of film and not one of the thin paper sheets that divide the films. Place the film onto the blot and close the cover of the cassette (be careful not to move the film once it has been placed on the blot). Wait ~1 min. to 90 sec., then open the cassette and remove the film.

