## Sheet1
Resuspending IDT Stock in Solution
Notes: | *Before taking measurements on nanodrop, vortex each sample for 15 seconds and microcentrifuge each for 90 seconds
*Use 1.5 uL of sample for each nanodrop measurement
*On the Nanodrop select Home-->Nucleic Acid-->ssDNA, then blank with DD or DI water, then begin to measure samples
|  |  | Initial Dilution |  |  | 1st Nanodrop Measurements | [5 empty] | Second Dilution |  |  |  |  | 2nd Nanodrop Measurements
Substance | Nanomoles | micromoles | Desired Concentration (uM) | Volume to add (L) | Volume to add (uL) | (ng/uL) 1 | (ng/uL) 2 | Avg. (ng/uL) | MW (g/moles) | uL removed | concentration (uM) | Substance | Current uMoles | Desired Concentration (uM) | Total Volume (uL) | Volume to Add (uL) | (ng/uL) 1 | (ng/uL) 2 | (ng/uL) avg | uL removed | concentration (uM) | Total Volume of Sample (uL)
U1C | 31.9 | 0.0319 | 200 | 0.0001595 | 159.5 | 260.8 | 259.1 | 259.95 | 4626.1 | 3 | 56.192 | U1C | 0.0087941 |  | no second dilution done - additional 3 uL removed
M13 | 17.9 | 0.0179 | 200 | 8.95e-05 | 89.5 | 3167.2 | 3117.9 | 3142.55 | 17122.3 | 13.5 | 183.5355 | M13 | 0.013949 |  | 139.487 | 63.487 |  |  | 1765 | 1.5 | 103.0819
Ultramer | 20 | 0.02 | 20 | 0.001 | 1000 | 1228.7 | 1214.1 | 1221.4 | 58204.8 | 3 | 20.9845 | Ultramer | 0.020922 |  | 2092.157 | 1095.157 |  |  | 625.7 | 1.5 | 10.75
[0]0 | 35 | 0.035 | 200 | 0.000175 | 175 | 2322.6 | 2334.4 | 2328.5 | 12825.4 | 3 | 181.5538 | [0]0 | 0.031227 |  | 312.2725 | 140.2725 |  |  | 1311 | 1.5 | 102.219
[0]21 | 28.8 | 0.0288 | 200 | 0.000144 | 144 | 2227.3 | 2208.6 | 2217.95 | 12909.4 | 3 | 171.8089 | [0]21 | 0.024225 |  | 242.2506 | 101.2506 |  |  | 1328.4 | 1.5 | 102.9018
[0]42 | 33.5 | 0.0335 | 200 | 0.0001675 | 167.5 | 2195.7 | 2220 | 2207.85 | 12864.3 | 3 | 171.6261 | [0]42 | 0.028232 |  | 282.325 | 117.825 |  |  | 1343.2 | 1.5 | 104.413
[0]63 | 37.3 | 0.0373 | 200 | 0.0001865 | 186.5 | 2238.9 | 2224.7 | 2231.8 | 12826.3 | 3 | 174.0019 | [0]63 | 0.031929 |  | 319.2934 | 135.7934 |  |  | 1329.4 | 1.5 | 103.6464
[0]84 | 32.7 | 0.0327 | 200 | 0.0001635 | 163.5 | 2248.2 | 2212.6 | 2230.4 | 12779.3 | 3 | 174.5323 | [0]84 | 0.028012 |  | 280.1243 | 119.6243 |  |  | 1308.5 | 1.5 | 102.3921
[0]105 | 30.2 | 0.0302 | 200 | 0.000151 | 151 | 2256.2 | 2274.3 | 2265.25 | 12906.4 | 3 | 175.5137 | [0]105 | 0.025976 |  | 259.7603 | 111.7603 |  |  | 1311.6 | 1.5 | 101.624
[0]126 | 31.8 | 0.0318 | 200 | 0.000159 | 159 | 2258.8 | 2353.9 | 2306.35 | 12786.3 | 3 | 180.3767 | [0]126 | 0.028139 |  | 281.3876 | 125.3876 |  |  | 1298.8 | 1.5 | 101.5775
[0]147 | 33.4 | 0.0334 | 200 | 0.000167 | 167 | 2087 | 1904.7 | 1995.85 | 12808.3 | 3 | 155.8247 | [0]147 | 0.025555 |  | 255.5526 | 91.5526 |  |  | 1388.6 | 1.5 | 108.4141
[0]168 | 32.5 | 0.0325 | 200 | 0.0001625 | 162.5 | 2352.9 | 2347.8 | 2350.35 | 12884.4 | 3 | 182.4183 | [0]168 | 0.029096 |  | 290.9571 | 131.4571 |  |  | 1330.7 | 1.5 | 103.2799
5 DiThiol | 39.2 | 0.0392 | 200 | 0.000196 | 196 | 940.7 | 941.5 | 941.1 | 4840.3 | 3 | 194.4301 | 5dthiol | 0.037525 |  | 375.2501 | 182.2501 |  |  |  | 1.5 | 0
Top1 | 7.7 | 0.0077 | 200 | 3.85e-05 | 38.5 | 3531.7 | 3557.7 | 3544.7 | 18237.9 | 4.5 | 194.359 | Top1 | 0.0066082 | 100 | 66.0821 | 32.0821 | 1841.9 | 1833.8 | 1837.85 | 3 | 100.7709 | 63.0821
Bottom1 | 3.5 | 0.0035 | 200 | 1.75e-05 | 17.5 | 4789.4 | 4784.2 | 4786.8 | 22258.5 | 6.5 | 215.0549 | Bottom1 | 0.0023656 | 100 | 23.656 | 12.656 | 2102.8 | 2097.8 | 2100.3 | 3 | 94.3595 | 20.656
Top2 | 9.7 | 0.0097 | 200 | 4.85e-05 | 48.5 | 4192.4 | 4182.3 | 4187.35 | 22045.4 | 8 | 189.9421 | Top2 | 0.0076927 | 100 | 76.9266 | 36.4266 | 2274.1 | 2241.4 | 2257.75 | 3 | 102.4137 | 73.9266
Bottom2 | 4.2 | 0.0042 | 200 | 2.1e-05 | 21 | 4427.4 | 4435.3 | 4431.35 | 22440.6 | 3 | 197.4702 | Bottom2 | 0.0035545 | 100 | 35.5446 | 17.5446 | 2274.9 | 2234.1 | 2254.5 | 3 | 100.4652 | 32.5446
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0