Title: Editing-Seq Pilot Experiments

Author: Jack Qian

Date Modified: June 1, 2012

Editing-Seq PCR protocol – 5 uL reaction volume:

Per reaction:

1.3 µL dH2O

0.5 µL 10x reaction buffer

0.1 µL 50x dNTPs

0.1 µL pol

1 µL template

1 µL forward primer (from 1 µM stock)

1 µL reverse primer (from 1 µM stock)

Make up master mix with dH2O, reaction buffer, dNTPs, and pol. Vortex, spin down. Distribute master mix into one empty row of a 96-well plate to use with multichannel pipette.

Use multichannel pipette to add master mix to desired wells/plates.

Use P10 to add template individually to wells.

Use multichannel pipette to add forward and reverse primer into an empty row of a 96-well plate, mix, then use multichannel pipette to transfer 2 µL into desired wells. Do this as quickly as possible to minimize amount of time primers are mixed (to minimize primer-dimer formation).