## Solutions for Calibration
Initial Concentration of 2X Calf Thymus DNA solution (micrograms/mL) | Volume of the 2X DNA solution (µL) | Volume of the SYBR GREEN I Dye solution (µL) | Final DNA concentration in SYBR Green I solution (µg/mL)
5 | 80 | 80 | 2.5
2 | 80 | 80 | 1
1 | 80 | 80 | 0.5
0.5 | 80 | 80 | 0.25
0.25 | 80 | 80 | 0.125
0 | 80 | 80 | 0

## Table1 Cal Raw Data
Sample Number | Image number | Final DNA concentration in SYBR Green I solution (µg/mL) | AREA | Mean Pixel Value | RAWINTDEN OF THE DROP | RAW INTDEN OF THE BACKGROUND | RAWINTDEN DROP-BACKGROUND
C-1 | 1 | 2.5 | 5728 | 165.1 | 945693 | 17111 | 928582
C-1 | 2 | 2.5 | 5054 | 166.689 | 842447 | 19233 | 823214
C-1 | 3 | 2.5 | 5586 | 165.741 | 925830 | 21179 | 904651
C-2 | 1 | 1 | 5646 | 137.762 | 777807 | 30685 | 747122
C-2 | 2 | 1 | 14195 | 145.592 | 2066676 | 131606 | 1935070
C-2 | 3 | 1 | 14130 | 158.958 | 2246077 | 74551 | 2171526
C-3 | 1 | 0.5 | 5206 | 155.018 | 807026 | 23160 | 783866
C-3 | 2 | 0.5 | 5206 | 145.66 | 758305 | 36886 | 721419
C-3 | 3 | 0.5 | 5689 | 140.589 | 799810 | 46994 | 752816
C-4 | 1 | 0.25 | 8960 | 129.482 | 1160158 | 99554 | 1060604
C-4 | 2 | 0.25 | 8079 | 135.419 | 1094049 | 81740 | 1012309
C-4 | 3 | 0.25 | 23044 | 120.623 | 2779640 | 215749 | 2563891
C-5 | 1 | 0.125 | 9260 | 117.697 | 1089877 | 102904 | 986973
C-5 | 2 | 0.125 | 22062 | 117.001 | 2581284 | 228167 | 2353117
C-5 | 3 | 0.125 | 20962 | 120.203 | 2519702 | 217999 | 2301703
C-6 | 1 | 0 | 7240 | 82.913 | 600292 | 26087 | 574205
C-6 | 2 | 0 | 7317 | 76.106 | 556867 | 24329 | 532538
C-6 | 3 | 0 | 6908 | 69.069 | 477128 | 41917 | 435211
Note: "C" stands for calibration sample

## Table2 Cal Means
Initial Concentration of 2X Calf Thymus DNA solution (micrograms/mL) | Final DNA concentration in SYBR Green I solution (µg/mL) | Sample Number | RAWINTDEN DROP - BACKGROUND |  |  | MEAN | Standard Deviation
|  |  | Image 1 | Image 2 | Image 3
5 | 2.5 | C-1 | 928582 | 823214 | 904651 | 885482.3333 | 55237.5071
2 | 1 | C-2 | 747122 | 1935070 | 2171526 | 1617906 | 763332.4577
1 | 0.5 | C-3 | 783866 | 721419 | 752816 | 752700.3333 | 31223.6607
0.5 | 0.25 | C-4 | 1060604 | 1012309 | 2563891 | 1545601.3333 | 882195.2651
0.25 | 0.125 | C-5 | 986973 | 2353117 | 2301703 | 1880597.6667 | 774328.5049
0 | 0 | C-6 | 574205 | 532538 | 435211 | 513984.6667 | 71330.2365

## PCR Solutions
PCR Product TUBE LABEL | Volume of the DILUTED PCR Product solution (µL) | Volume of the SYBR GREEN I Dye solution (µL) | Dilution 1 | Dilution 2 | Total Dilution
Positive control | 80 | 80 | 6 | 2 | 12
Negative control | 80 | 80 | 6 | 2 | 12
G6 1-1 | 80 | 80 | 6 | 2 | 12
G6 1-2 | 80 | 80 | 6 | 2 | 12
G6 1-3 | 80 | 80 | 6 | 2 | 12
G6 2-1 | 80 | 80 | 6 | 2 | 12
G6 2-2 | 80 | 80 | 6 | 2 | 12
G6 2-3 | 80 | 80 | 6 | 2 | 12

## Table3 PCR Raw Data
PCR Product TUBE LABEL | Image Number | AREA | Mean Pixel Value | RAWINTDEN OF THE DROP | RAWINTDEN OF THE BACKGROUND | RAWINTDEN DROP - BACKGROUND
G6 Positive control | 1 | 8912 | 168.383 | 1500630 | 82693 | 1417937
G6 Positive control | 2 | 21382 | 170.748 | 3650924 | 246897 | 3404027
G6 Positive control | 3 | 21920 | 168.155 | 3685959 | 212878 | 3473081
G6 Negative control | 1 | 8784 | 169.429 | 1488263 | 82633 | 1405630
G6 Negative control | 2 | 10382 | 166.884 | 1732585 | 118247 | 1614338
G6 Negative control | 3 | 10934 | 79.439 | 868584 | 90333 | 778251
G6 1-1 | 1 | 10246 | 83.821 | 858828 | 103834 | 754994
G6 1-1 | 2 | 9144 | 79.583 | 727707 | 87061 | 640646
G6 1-1 | 3 | 22180 | 80.624 | 1788246 | 220380 | 1567866
G6 1-2 | 1 | 8584 | 78.859 | 676925 | 73087 | 603838
G6 1-2 | 2 | 9620 | 81.89 | 787778 | 66627 | 721151
G6 1-2 | 3 | 22232 | 84.882 | 1887106 | 203958 | 1683148
G6 1-3 | 1 | 11436 | 83.952 | 889868 | 105403 | 784465
G6 1-3 | 2 | 10776 | 80.383 | 857048 | 81197 | 775851
G6 1-3 | 3 | 25367 | 79.946 | 2027987 | 172278 | 1855709
G6 2-1 | 1 | 10056 | 73.035 | 734441 | 86023 | 648418
G6 2-1 | 2 | 10192 | 87.35 | 890273 | 67589 | 822684
G6 2-1 | 3 | 23586 | 86.309 | 2035684 | 133904 | 1901780
G6 2-2 | 1 | 9970 | 102.778 | 1024693 | 82552 | 942141
G6 2-2 | 2 | 10776 | 71.289 | 768210 | 74062 | 694148
G6 2-2 | 3 | 25686 | 73.357 | 1884259 | 209855 | 1674404
G6 2-3 | 1 | 24254 | 88.539 | 2147413 | 195982 | 1951431
G6 2-3 | 2 | 12568 | 142.664 | 1792996 | 117510 | 1675486
G6 2-3 | 3 | 24254 | 85.419 | 2071762 | 190892 | 1880870

## Table4 PCR Means
PCR Product TUBE LABEL | RAWINTDEN DROP - BACKGROUND |  |  | MEAN | Standard Deviation
| Image 1 | Image 2 | Image 3
G6 Positive Control | 1417937 | 3404027 | 3473081 | 2765015 | 1167114.5905
G6 Negative Control | 1405630 | 1614338 | 778251 | 1266073 | 435163.7451
G6 1-1 | 754994 | 640646 | 1567866 | 987835.3333 | 505564.5824
G6 1-2 | 603838 | 721151 | 1683148 | 1002712.3333 | 592186.7166
G6 1-3 | 784465 | 775851 | 1855709 | 1138675 | 620984.5957
G6 2-1 | 648418 | 822684 | 1901780 | 1124294 | 678937.0515
G6 2-2 | 942141 | 694148 | 1674404 | 1103564.3333 | 509674.9707
G6 2-3 | 1951431 | 1675486 | 1880870 | 1835929 | 143356.8306

## Table5 PCR Solved
PCR Product TUBE LABEL | MEAN (of RAWINTDEN DROP - BACKGROUND) | PCR Product Concentration (µg /mL) (Step 5 calculation) | Total Dilution | Initial PCR Product Concentration (µg /mL) (Step 6 calculation)
G6 Positive Control | 2765015 | 4.427 | 12 | 53.1236
G6 Negative Control | 1266073 | 0.66736 | 12 | 8.0083
G6 1-1 | 987835.3 | -0.030511 | 12 | -0.36613
G6 1-2 | 1002712 | 0.0068022 | 12 | 0.081626
G6 1-3 | 1138675 | 0.34782 | 12 | 4.1739
G6 2-1 | 1124294 | 0.31175 | 12 | 3.741
G6 2-2 | 1103564 | 0.25976 | 12 | 3.1171
G6 2-3 | 1835929 | 2.0967 | 12 | 25.1599