Prather Lab Cleanup Checklist
1. Remove excess ice and frost from door and cabinets of -80 freezer

2. Decontaminate ethidium bromide
3. Decontaminate/empty aspirator waste
4. Autoclave biohazardous waste
5. Discard excess buffers from Qiagen/Zymo kits (check disposal guidelines)
6. Remove and replace all absorbent pads (mini-prep station, EtBr staining)
7. Discard/store HPLC samples near instrument (HPLC users)

8. Discard/consolidate HPLC buffers (HPLC users) 
9. Remove/discard old plates, cultures, etc, in refrigerator (personal)

10. Remove/discard un-needed samples in freezers (personal)

11. Chemical inventory

Clean: 
12. Biosafety cabinets with soap/water, then alcohol
13. Fume hood – Remove solutions, cuvettes, tubes, tips, etc.
14. Spectrophotometer – wipe surface, remove old cuvettes

15. Balances – Clean and calibrate
16. Interior of centrifuges (remove rotors), and rotors
a. Room-temp mini

b. Refrigerated mini

c. Hi-speed

17. Incubators (wipe down with alcohol) – Remove old plates, flasks
18. Water bath – inside (dump out water!) and outside

19. Door of refrigerator – wipe down with Windex
20. Glassware

a. Clean glassware on benches (clean your own)

b. Place dry, clean glassware back on shelves

c. Autoclave shake flasks, solution bottles

21. All benchtops (common and personal)

22. Sweep floor.

