| Task | Complete? |
| --- | --- |
| Remove excess ice and frost from door and cabinets of -80°C freezer |  |
| Red-tag ethidium bromide waste |  |
| Decontaminate and empty aspirator waste |  |
| Autoclave biohazardous waste |  |
| Discard excess buffers from Qiagen/Zymo kits |  |
| Discard/store old LC/MS samples near instruments |  |
| Discard old LC/MS buffers (check cabinet too), tag full waste bottles |  |
| Discard old plates (refrigerator) |  |
| Discard excess restriction enzyme buffers (refrigerator) |  |
| Discard personal samples in refrigerator, -30°C, and -80°C that are no longer needed |  |
| Chemical inventory |  |
| Solvent cabinet: dispose of expired chemicals, consolidate bottles if possible |  |
| Inventory restriction enzymes and polymerases (order if necessary) |  |
| Clean biosafety cabinets |  |
| Fume hood: empty chemical sharps, clean vent |  |
| Remove and replace all absorbent pads (shiny side down) |  |
| Spectrophotometer: wipe surface, remove old cuvettes |  |
| Balances |  |
| Clean room-temp mini centrifuges (2) |  |
| Clean refrigerated mini centrifuge |  |
| Clean hi-speed floor centrifuge |  |
| Incubators: wipe down with alcohol, remove old plates and cultures |  |
| Water bath: dump out water, clean with alcohol, refill with distilled (not deionized) water |  |
| Door of refrigerator: wipe down with Windex |  |
| Place dry, clean glassware back on shelves |  |
| Clean glassware on benches (personal) and near sink |  |
| Wipe down all benchtops (communal and personal) |  |
| Lab microwave |  |
| Office microwave |  |
| Office refrigerator |  |
| Vacuum office floor |  |
| Sweep lab floor (DO THIS LAST!) |  |
| Request chemical pick-up |  |