Historical DNA Extraction – Digestion

Revised: July 8, 2015

Prep

- Make a stock solution of 1M DTT (store in aliquots at -20˚C, avoid freeze/thaw cycles)

  - Molecular weight = 154.25g

  - 1.5425 g in 10 ml of water

Toe pad removal

- Cut toe pad with a clean scalpel into a piece of curled foil

- Place toe pad in eppendorf tube

- Change foil and scalpel blade and flame sterilize forceps between each sample

- Can stop at this step and store toe pads dry in the freezer

DAY 1

Toe pad wash

- Preheat Buffer ATL on heat block to dissolve precipitate

- Add 500ul 100% ethanol to each tube

- Incubate samples on a thermomixer at room temperature at 1000rpm for 5 minutes

- Remove ethanol and discard

- Add 500ul of 1X STE Buffer to each tube

- Incubate on a thermomixer at room temperature at 1000rpm for 5 minutes

Toe pad digestion

- Label new tubes (1, 2, 3, etc.) and add the following for each tube:

  - 180 ul Buffer ATL

  - 20 ul Proteinase K

- Transfer toe pad to new tube containing Buffer ATL and ProK with flame sterilized forceps

- Vortex well and place in thermomixer at 56˚C at 1000 rpm

- Incubate samples on a thermomixer at 56˚C at 1000 rpm for ~2 hours

- Remove from thermomixer and using a separate mini pestle for each sample, mash tissue in tubes (REPEAT this step every few hours if necessary)

- Vortex and return to thermomixer and incubate at 56˚C at 1000 rpm overnight

DAY 2

Toe pad digestion

- Remove from thermomixer and add 25ul 1M DTT to each sample

- Vortex and return to thermomixer and incubate at 56˚C at 1000 rpm for at least 1 hour

  - If sample is completely digested move to Phenol-Chloroform addition

  - If not, move to step 3

- Remove from thermomixer and add 15ul ProK

- Vortex well and place in thermomixer at 56˚C at 1000 rpm

- Continue incubation mashing with mini pestle every few hours if necessary until sample is completely digested

Historical DNA Extraction – Phenol-Chloroform

DAY 2

Phenol-Chloroform addition – PERFORM ALL REMAINING STEPS IN THE FUME HOOD PUTTING ALL LIQUID WASTE INTO THE PHENOL-CHLOROFORM LIQUID WASTE CONTAINER

- Spin down Phase Lock Gel Light tubes at 12,000rpm for 30 seconds

- Vortex sample after removing from incubation

- Transfer sample to pre-spun Phase Lock Gel tube

- Add 225ul Phenol:Chloroform:Isoamyl Alcohol (24:25:1)

- Mix thoroughly by manually rotating tube for 10 minutes inside the fume hood

- Open lid to each tube to vent gas that has built up in each tube

- Centrifuge at 14,000rpm for 15 minutes

- Label tubes for final storage (include initial tube number)

- KEEP supernatant (top solution) and transfer to final storage tubes being careful not to go near the interface between the two layers

- Add 20ul 3M NaOAc to each tube

- Add 500ul cold 100% ethanol

- Mix well and store in -20˚C overnight

DAY 3

Precipitation

- Centrifuge at 14,000rpm for 10 minutes

- Remove supernatant and keep the DNA pellet

- Add 500ul cold 70% ethanol to the samples without disturbing the DNA pellet

- Centrifuge at 14,000rpm for 10 minutes

- Dry the DNA pellet in the fume hood (2-3 hours)

- Re-suspend pellet in 100ul 10mM Tris-HCl pH7.5 and store in the freezer